## Detailed Estimate
Component | Quantity | Base Cost | Installation Cost | Total Cost
Core+ Module | 2 | 50000 | 3000 | 53000
Wall Panel 100mm | 28 | 7000 | 0 | 7000
Wall Panel 150mm | 12 | 3600 | 0 | 3600
Wall Panel 200mm | 8 | 2800 | 0 | 2800
Floor Panels | 42 | 16800 | 0 | 16800
Roof Panels | 46 | 20700 | 0 | 20700
Specialized Labor | 32 | 2720 | 0 | 2720
Assembly Labor | 48 | 2160 | 0 | 2160

## Bill of Materials
System | Component | Quantity | Unit | Module | Specifications
Plumbing System | toilet | 2 | set | Core+
Plumbing System | sink | 2 | set | Core+
Plumbing System | shower | 2 | set | Core+
Plumbing System | water_heater | 2 | unit | Core+
Plumbing System | pipes_and_fittings | 2 | set | Core+
Electrical System | main_panel | 2 | unit | Core+
Electrical System | outlets | 16 | pcs | Core+
Electrical System | switches | 8 | pcs | Core+
Electrical System | lighting | 8 | pcs | Core+
Electrical System | wiring | 2 | set | Core+
HVAC System | ventilation_unit | 2 | unit | Core+
HVAC System | ductwork | 2 | set | Core+
HVAC System | controls | 2 | set | Core+
Core Structure | frame | 2 | set | Core+
Core Structure | insulation | 2 | set | Core+
Core Structure | interior_finish | 2 | set | Core+
Wall System | Wall Panel 100mm | 28 | panels |  | 1000x100x2700mm, Weight: 70.0kg
Wall System | Panel Fasteners | 224 | pcs |  | Heavy-duty steel fasteners
Wall System | Sealant | 56 | tubes |  | Weather-resistant sealant
Wall System | Wall Panel 150mm | 12 | panels |  | 1000x150x2700mm, Weight: 75.0kg
Wall System | Panel Fasteners | 96 | pcs |  | Heavy-duty steel fasteners
Wall System | Sealant | 24 | tubes |  | Weather-resistant sealant
Wall System | Wall Panel 200mm | 8 | panels |  | 1000x200x2700mm, Weight: 80.0kg
Wall System | Panel Fasteners | 64 | pcs |  | Heavy-duty steel fasteners
Wall System | Sealant | 16 | tubes |  | Weather-resistant sealant
Floor System | Floor Panel | 42 | panels |  | 1000x150x1000mm, Load-bearing
Roof System | Roof Panel | 46 | panels |  | 1000x200x1000mm, Insulated
Assembly Components | Panel Connectors | 544 | sets |  | Steel connection sets

## Summary
Subtotal | Transport Costs | Certification Costs | Contractor Fee | Contingency | Total Estimate
108780 | 5000 | 8500 | 13053.6 | 10878 | 149181.6